## tasks
Task
transfer algal cultures
transfer ciliate cultures
make medium
wash dishes
settle lugols samples
record ciliate counts
count nauplii
record nauplii counts
lab cleanup
Dock sampling
Establishing new ciliate cultures
filtered seawater
counting phyto cultures

## transfer algal cultures
transfer algal cultures
Frequency: once every 7-14 d.
Fill 1 clean tissue culture flasks with f/2-Si 30ppt medium for each culture (or f/2 if you are transferring a diatom like Tweis).
Label each flask with the date, the name of the alga, and the medium (F/2 30ppt) plus your initials.
Using a NEW transfer pipette each time (plastic disposables with built-in bulb), tranfer about 1 ml of the most recent culture to its new flask.
Place in incubator at the front of the row (the newest should be closest to the light).
Discard the oldest flask.
Be very careful not to mix up the cultures or to use the same pipette twice.
If you do, throw that culture out and transfer from an older one.

## transfer ciliate cultures
transfer ciliate cultures
Frequency: once every 7-14 d.
Fill 1 clean 6-well plate with F/20 30ppt medium for each culture.
Label each plate with the date, the name of the ciliate, and the medium (F/20 30ppt) plus your initials.
Using a NEW transfer pipette each time (plastic disposables with built-in bulb), tranfer about 1 ml of the most recent culture to each well.
(Try to get ciliates from a variety of wells and mix them in the new wells to help preserve genetic diversity.)
Place in incubator on top of the older plates (the newest should be closest to the light).
Discard any older plates that are overgrown with algae or devoid of ciliates.
Be very careful not to mix up the cultures or to use the same pipette for two different ciliates.
If you do, throw that culture out and transfer from an older one.

## make medium
make medium
We make 3 kinds of medium, all using 30ppt filtered seawater
1. f/2 (a standard medium for growing microalgae; we buy it as a 50x concentrate and add to our seawater)
2. f/2 -Si (the same as f/2 but without Si, a nutrient needed only by diatoms)
3. f/20-Si (the same as f/2 but only 1/10 of the strength; we use this for culturing ciliates)
Get filtered seawater from the cold room (10 liter carboy).
If our stock of seawater is out, fill the carboy in the Rankin Lab.
Check salinity with the refractometer. It should be 28-32 ppt. If it is more than that, dilute it to 30.
If the salinity is <28ppt, tell George and he will help you get some higher salinty water.
Fill the big cylindrical polycarbonate (clear) plastic bottles 3/4 full (1.5L for the 2 L bottles)
Place the cap loosely on the bottle (just a quarter turn or so, until the threads just engage), and label the bottle “FSW, 30 ppt’ using labeling tape.
Put a piece of autoclave tape on the bottle.
Autoclave. Be sure the autoclave is set for "liquids". Check with George or other knowledgeable user if you are unsure how to use it.
Allow the medium to cool at least overnight, then screw on caps tightly.
The next day…..
If there is none in the refrigerator, thaw out the f/2 concentrate from the freezer.
There are two kinds: with Si for diatoms and without Si for everything else
Add f medium concentrate:
20 ml per liter for f/2 or f/2-Si (for the algae)
2 ml per liter for f/20-Si (for the ciliates)
Carefully label each bottle as f/2, f/2-Si, or f/20-Si, depending on its contents

## wash dishes
wash dishes
1.Fill up the left-hand sink with hot water and add soap.
2.Fill up the right-hand sink with hot water
3.Wearing heavy rubber gloves and eye protection, wash each piece of glass or plasticware separately, scrubbing the inside with a brush.
4.Rinse the soapy glass or plasticware several times in the right-hand sink, and leave it in the sink.
5.When everything has been washed, drain the water from both sinks and rinse each piece again three times in tapwater, then once in deionized water.
6.Place items on the racks to dry.
7.When dry, place tops on bottles or test tubes that have them, and place aluminum foil over the openings of flasks and beakers.
Items that need to be acid rinsed include all glassware, any plastic items that will be used for cultures, the amber plastic filtration units, and the large pipette tips (5 and 10 ml) that we reuse.
8.For items that are to be acid-rinsed, place in bucket filled with 10% HCl, soak overnight, rinse three times with deionized water, air-dry, cover openings with foil, and place in glass-door cabinets for storage.
9. If the HCl bath needs to be changed (floating debris visible), ask George or a grad student. Do not do this yourself.

## settle lugols samples
settle lugols samples
Get six clean 100 ml graduated cylinders from the cabinet or drying rack.
Lie them up in front of six LISDEEP "whole water" samples.
Label a piece of tape for each sample: put the sample date, the station name, the amount to be settled (100 ml unless told otherwise).
Put one label on the base of each cylinder, corresponding to the sample behind it.
Take each sample, invert it gently five times back and forth, then quickly remove the cap and pour 100 ml into the cylinder with the label for that sample.
Allow the sample to settle overnight (12h minimum).
The next day, carefully aspirate off the top 88 ml, leaving 12 ml behind. The sample is concentrated in this 12 ml.
Shake the cylinder to resuspend the sample and quickly pour into a 15 ml centrifuge tube.
Squirt about 2 ml of filtered seawater into the cylinder, add a few drops of Lugols and shake it to resuspend any sample left behind.
Pour the 2 ml into the centrifuge tube.
Take the label from that cylinder and place it onto the 15 ml centrifuge tube.
Follow this procedure for each sample and place the tubes in a rack to settle further.
Allow the sample to settle for at least 5 hours.
When ready to count:
Carefully aspirate off the top of the sample until there is about 3-4 ml left in the tube. Quickly pour this into one well of a 12-well plate.
Put a few drops of lugols into the tube and shake it a bit to resuspend any leftover sample. You can "flick" the bottom of the tube with your finger to get anything near the bottom into suspension.
Using a transfer pipette, tranfer these last few drops into the well. Just drop them in.
Take the label off the tube and place it on the cover of the 12-well plate just above the well with the sample.
Allow to settle for at least one hour before counting on the inverted microscope.
After counting:
Use a transfer pipette to put the sample back into the 15 ml tube, initially mixing up and down to get all of the sample off the bottom. Rinse the well with a few drops of lugols.
Put 0.5 ml of 10% paraformaldehyde into the tube.
Transfer the label from the well-plate cover to the tube.
Wrap the label with scotch tape to make sure it stays on.
Seal the tube with parafilm and place in a styrofoam rack for storage in the basement.

## record ciliate counts
record ciliate counts
Refer to detailed instructions in the file "Instructions for putting raw whole water counts into the spreadsheet".
This file is in the lab computer.

## count nauplii
count nauplii
>64 μm Samples: Nauplii & Copepodites
Microscope Calibration
• Measurements are done at 40x zoom on the dissecting microscope (Olympus
SZX12) in the lab. Note: For easy calibration line up the grease marks on the
zoom adjustment and the microscope.
• For any other microscope, calibrate so that there are 35 Ocular Units/mm using a stage micrometer.
Sample Preparation
• Invert the sample several times to suspend all matter.
• Measure the sample volume in a graduated cylinder and record.
• Bring the sample up to 100 ml with filtered seawater (FSW).
• Mark two 100x15 mm petri dishes with 17 lines of equal height.
• Pour sample into a small beaker.
• Quickly, before the copepodites and nauplii begin to settle, use a stempel pipette to
transfer 20 ml (two 10 ml sub‐samples) of the sample into each petri dish.
• Let the sub‐samples settle on the dissecting microscope for 5 to 10 minutes.
Quantitative Measures
• Systematically move through each dish counting all copepodites and nauplii.
• Copepodites: measure only the prosome length (the forward part of the
copepodite, excluding the antennae and tail)
• Nauplii: Measure entire length (no distinction between prosome and
urosome)
• Count both sub‐samples unless the first one has >100 nauplii, in which case it
is not necessary to count the second sub‐sample.
Note: If there are a lot of nauplii or diatoms that will make the sample more difficult to
count, it is possible to dilute the subsample.
Subsample Dilution (only if necessary)
• Use only 10 ml of the sample per dish instead of 20 ml (only one shot of the stempel pipette).
Add to each subsample 10 ml of FSW.
• If a total of 100 nauplii have been counted before finishing the second diluted
sub‐sample no further counting is necessary. If not, then two additional
diluted sub‐samples will need to be prepared and counted.

## record nauplii counts
record nauplii counts
Open the file "Nauplii-Copepodite Counts ****" (asterisks are for the year you are doing)
Copy one of the previous sheets to a new sheet (check the "make a copy" box)
Label the tab for the new sheet for the sample you are recording with the station month and year.
Replace the information at the top of the sheet with the station, date, counter initials, etc. for the sample you are recording.
Delete the entries in the "length" columns (columns C , H, and N) and the identification column (M) for "Other" if there is any.
Record the length (ocular units) for each individual copepodite and nauplius.
Take a minute to check over the data to make sure there are no typos. A really big number in any cell might suggest a mistake.
It is much easier to find mistakes at this stage than later when the whloe year's data has been entered.

## lab cleanup
lab cleanup
Empty any plastic containers on benches (spent pipette tips, etc.)
Put books and notebooks away.
Check hood for dirty glassware, etc.
Make sure scopes are covered.
Put petri dishes, etc. in sink.

## Dock sampling
Dock sampling
We sample at the Avery Point dock on a regular basis (at least once per week) to see what kinds of ciliates are present and to try to establish new cultures.
Take the small plankton net with its cod end and a large white bucket. If there is no one to go with you, tell someone you are going down to the dock.
At the dock, fill the bucket halfway with seawater.
Drop the net into the water, holding on to the line. Allow the mouth to sink completely below the surface.
Walk back and forth along the dock, towing the net; go slowly enough that the whole mouth remains submerged and the water can slowly seep through the fine mesh.
Try to not scrape the net on any of the pilings because big algae and other stuff will rub off into the net.
After about 3-5 passes along the dock, bring the net to vertical and dip it up and down a few times with the mouth out of the water to rinse the sides.
Bring up the net and submerge the cod end in the bucket without removing it from the net.
Back in the lab, measure the temperature and salinity of the water in the bucket and record these in the dock sample spreadsheet.
Take the cod end off the net and pour some into a petri dish. Look at the sample under the microscope. If it is too dense with plankton, dilute it a bit with water from the bucket.
If there are too many copepods and you just can't focus on the smaller stuff, you can gently pass the sample through a 200 um mesh.
When scanning for ciliates, relax your eyes and just look at an area near the bottom of the dish; eventually, a ciliate will swim into view and you can use it to form your "search image",
which is the general size, swimming behavior, etc. that you are looking for.
Make note of what you see, recording in the spreadsheet your general observations, specific ciliates like Laboea or tintinnids if you recognize them, etc. ; note if there are lots of rotifers.
Pick some ciliates to establish new cultures.

## establishing new cultures
Establishing new ciliate cultures

## filtered seawater
Filtered seawater
Fill a large (20L) carboy that has a spigot with water from the Rankin Lab
Put it in the lab on the cart or a counter.
Attach to the spigot the cartridge filter (Prepor PES) that has two tubes attached to it (you should find it in the fridge).
Make sure the direction of flow is from the carboy through the cartridge, as indicated on the cartridge.
Put the downstream tube leading from the cartridge into a clean 20 L carboy.
Open the spigot and let the water flow through the cartridge into the lower carboy by gravity.
You may need to open the upper valve on the cartridge to let air out of the cartridge.
When finished, close the spigot, remove the cartridge and put it back in the fridge.
Store the filtered seawater in the 4 degC cold room in the hallway.

## counting phyto cultures
Counting phytoplankton cultures with the hemocytometer:
1.Sample 1 ml from the culture and place into a microcentrifuge tube.
2.Add 10 µl of Lugol’s iodine solution, close the cap, and mix by flicking lightly with one finger.
3.Place the coverslip onto the hemocytometer, take up a few drops of sample with a disposable pipette and discharge some sample into the v-shaped notches on each side of the hemocytometer slide.
4.Count the number of algae in both grids (the one close to you and the one farther away on the slide), and compute the average.
5.The number of cells per ml is equal to the number per grid times 104
Note: there is a second kind of hemocytometer (the "Nageotte") for counting sparse cultures. It has a different procedure.
For diatoms or other non-motile cells, you can skip the preservation step and just put some sample into the hemocytometer